## Sheet1
| Harmonic #2 |  | Harmonic #3 |  | Harmonic #4 |  | Harmonic #5 |  | Harmonic #6 |  | Harmonic #7 |  | Harmonic #8 |  | Harmonic #9 |  | Harmonic #10 |  | Harmonic #11 |  | Harmonic #12 |  | Harmonic #13 |  | Harmonic #14 |  | Harmonic #15 |  | Harmonic #16 |  | Harmonic #17 |  | Harmonic #18 |  | Harmonic #19 |  | Harmonic #20 |  | Harmonic #21 |  | Harmonic #22 |  | Harmonic #23 |  | Harmonic #24 |  | Harmonic #25 |  | Harmonic #26 |  | Harmonic #27 |  | Harmonic #28 |  | Harmonic #29 |  | Harmonic #30 |  | Harmonic #31 |  | Harmonic #32 |  | Harmonic #33 |  | Harmonic #34 |  | Harmonic #35 |  | Harmonic #36 |  | Harmonic #37 |  | Harmonic #38 |  | Harmonic #39 |  | Harmonic #40 |  | Harmonic #41 |  | Harmonic #42 |  | Harmonic #43 |  | Harmonic #44 |  | Harmonic #45 |  | Harmonic #46 |  | Harmonic #47 |  | Harmonic #48 |  | Harmonic #49 |  | Harmonic #50
| R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X | R | X
Point 1 | 0.04956 | 0.1707 | 0.03027 | 0.1046 | 0.03593 | 0.2745 | 0.07202 | 0.4333 | 0.04909 | 0.2723 | 0.04526 | 0.3704 | 0.06349 | 0.5145 | 0.06711 | 0.5751 | 0.07516 | 0.7089 | 0.07309 | 0.8559 | 0.07144 | 0.8113 | 0.06452 | 0.8639 | 0.06635 | 0.9716 | 0.06156 | 1.066 | 0.06971 | 1.19 | 0.07866 | 0.9386 | 0.08519 | 1.493 | 0.09548 | 1.676 | 0.09232 | 1.436 | 0.07815 | 1.598 | 0.08013 | 1.73 | 0.08257 | 1.893 | 0.08564 | 2.012 | 0.1039 | 2.179 | 0.1055 | 2.326 | 0.1024 | 2.454 | 0.1125 | 2.644 | 0.1288 | 2.882 | 0.1336 | 3.052 | 0.1429 | 3.288 | 0.158 | 3.557 | 0.1739 | 3.86 | 0.1989 | 4.203 | 0.2179 | -1.841 | 0.2051 | -1.441 | 0.2341 | -1.041 | 0.2301 | -0.633 | 0.2401 | -0.337 | 0.2571 | 0.2191 | 0.3001 | 0.5949 | 0.4058 | 1.089 | 0.6044 | 1.562 | 0.9518 | 0.0167 | 0.8564 | -2.003 | 0.4267 | -1.122 | 0.3498 | -0.7018 | 0.2248 | -0.8068 | 0.188 | -0.3849 | 0.2203 | -0.02745
Point 2 | 0.2003 | -0.08838 | 0.04241 | 0.04736 | 0.04802 | 0.2548 | 0.09278 | 0.1202 | 0.1411 | 0.0744 | 0.2823 | -0.03674 | 0.2744 | 0.08042 | 0.155 | 0.2554 | 0.348 | 0.02908 | 0.1444 | 0.238 | 0.1009 | 0.3634 | 0.07813 | 0.501 | 0.07809 | 0.5664 | 0.07168 | 0.681 | 0.08665 | 0.775 | 0.196 | 0.7693 | 0.1206 | 1.065 | 0.5712 | 0.1435 | 0.2393 | 0.5543 | 0.1862 | 0.7371 | 0.1853 | 0.9268 | 0.1875 | 1.156 | 0.2951 | 1.265 | 0.7797 | 0.8557 | 0.6365 | 1.235 | 5.079 | -4.313 | 2.352 | -8.009 | 1.027 | -4.435 | 0.9199 | -3.917 | 0.8315 | -2.321 | 0.9213 | -3.11 | 1.093 | -4.246 | 0.343 | -2.693 | 0.2285 | -1.964 | 0.4405 | -1.985 | 0.37 | -1.254 | 0.3892 | -1.038 | 0.3709 | -0.6692 | 0.2597 | 0.0725 | 0.3612 | 0.4586 | 0.4088 | 1.04 | 0.8065 | 1.21 | 1.904 | -2.294 | 1.244 | -2.421 | 0.8805 | -2.314 | 0.3724 | -1.363 | 2.89 | -15.09 | 1.629 | -11.74 | 1.182 | -9.192
Point 3 | 0.3452 | -0.1663 | 0.07501 | -0.01255 | 0.07401 | 0.2439 | 0.1749 | 0.04611 | 0.3967 | -0.1132 | 0.7926 | -0.00463 | 3.009 | -0.9778 | 1.465 | -1.247 | 0.9757 | -0.7619 | 0.26 | 0.07593 | 0.1489 | 0.2372 | 0.09643 | 0.3991 | 0.1158 | 0.5 | 0.225 | 0.4724 | 0.1408 | 0.6335 | 0.281 | 0.7356 | 0.5808 | 0.3151 | 5.915 | -3.057 | 1.719 | -1.531 | 0.4242 | 0.5093 | 1.103 | 0.2292 | 0.4361 | 0.8667 | 0.9457 | 0.872 | 1.154 | 0.6951 | 7.062 | -5.28 | 5.27 | -4.33 | 3.535 | -7.685 | 1.75 | -5.644 | 6.637 | -6.325 | 1.792 | -4.253 | 3.358 | -6.263 | 8.262 | -6.13 | 2.038 | -5.546 | 0.8009 | -3.312 | 0.5199 | -2.068 | 0.6982 | -1.752 | 0.5647 | -1.167 | 0.6183 | -0.7677 | 0.3295 | -0.1604 | 0.3987 | 0.3854 | 0.5342 | 0.8348 | 2.156 | -0.1492 | 2.844 | -3.256 | 2.614 | -3.492 | 1.34 | -2.677 | 5.997 | -21.32 | 3.23 | -16.12 | 1.827 | -12.41 | 1.216 | -9.408
Point 4 | 0.4808 | -0.1151 | 0.1382 | -0.08354 | 0.3192 | 0.1858 | 0.3582 | -0.01964 | 0.8292 | -0.0754 | 3.034 | 1.136 | 3.515 | -0.844 | 1.904 | -1.603 | 1.195 | -0.414 | 0.8712 | -0.3822 | 0.2381 | 0.1225 | 0.1185 | 0.3676 | 0.2494 | 0.4225 | 0.2517 | 0.4509 | 0.2096 | 0.5694 | 0.4582 | 0.7612 | 0.824 | 0.1992 | 6.103 | -2.981 | 2.123 | -1.144 | 1.17 | 0.3069 | 1.782 | 1.197 | 0.6831 | 0.8499 | 1.539 | 0.9595 | 11.17 | 2.11 | 7.679 | -5.333 | 5.696 | -3.751 | 3.637 | -7.575 | 5.669 | -3.784 | 8.106 | -5.88 | 3.778 | -5.924 | 5.73 | -4.238 | 11.25 | -5.863 | 2.961 | -6.405 | 0.88 | -3.431 | 1.753 | -2.127 | 0.7641 | -1.846 | 0.769 | -1.108 | 0.852 | -0.7764 | 0.3922 | -0.2143 | 0.5339 | 0.3064 | 0.6754 | 0.8097 | 2.512 | -0.353 | 3.295 | -3.293 | 3.453 | -3.62 | 2.78 | -3.042 | 7.177 | -23.05 | 15.01 | -23.73 | 3.967 | -14.98 | 1.263 | -9.643
Point 5 | 0.5655 | 0.00012 | 0.1872 | -0.1191 | 0.3514 | 0.3353 | 0.5909 | -0.04421 | 0.9387 | 0.04775 | 3.144 | 1.528 | 3.672 | -0.09336 | 2.385 | -0.8904 | 1.25 | -0.1107 | 0.9366 | -0.1799 | 0.6502 | -0.0143 | 0.4004 | 0.2104 | 0.4611 | 0.6746 | 0.5641 | 0.5269 | 0.6084 | 0.7309 | 1.16 | 1.181 | 1.199 | 0.2426 | 6.855 | -0.3119 | 2.37 | -0.2277 | 1.889 | 0.2433 | 1.925 | 1.552 | 1.084 | 0.935 | 2.037 | 1.344 | 11.39 | 2.265 | 7.974 | -4.914 | 6.364 | -2.455 | 6.315 | 2.592 | 6.26 | -3.126 | 9.51 | -2.806 | 5.944 | -4.19 | 6.296 | -3.369 | 14.2 | -0.8694 | 4.08 | -5.772 | 0.9245 | -3.44 | 2.126 | -1.916 | 1.158 | -1.818 | 1.116 | -0.5986 | 0.8831 | -0.7463 | 0.511 | -0.2724 | 4.917 | -0.8707 | 0.9497 | 0.8296 | 2.697 | -0.3472 | 4.467 | -3.077 | 4.869 | -3.073 | 3.73 | -3.086 | 7.42 | -23.09 | 15.95 | -24.06 | 4.559 | -15.45 | 1.423 | -9.865
Point 6 | 0.575 | 0.07124 | 0.2734 | -0.147 | 0.4503 | 1.136 | 0.8769 | 0.1077 | 1.327 | 1.976 | 2.825 | 2.08 | 3.516 | 0.9605 | 2.545 | -0.04528 | 1.189 | 0.423 | 0.9473 | 0.04608 | 0.821 | 0.1332 | 0.5075 | 0.2511 | 0.6088 | 1.041 | 0.6242 | 0.6049 | 0.6783 | 0.8481 | 2.052 | 3.485 | 6.446 | 1.532 | 6.879 | 0.1367 | 2.095 | 1.204 | 2.14 | 0.4487 | 1.977 | 1.895 | 1.198 | 1.013 | 4.792 | 6.244 | 11.45 | 3.342 | 9.425 | 0.05251 | 5.655 | 2.305 | 6.328 | 5.609 | 6.876 | 0.4325 | 10.01 | -0.203 | 7.247 | -0.5657 | 7.14 | 0.1035 | 14.22 | 0.3136 | 4.765 | -5.097 | 1.184 | -3.433 | 2.249 | -1.547 | 1.361 | -1.748 | 1.209 | -0.04006 | 1.036 | -0.4354 | 6.862 | -2.156 | 5.676 | -0.7904 | 1.257 | 0.9198 | 4.382 | 0.2388 | 5.09 | -2.745 | 6.137 | 0.5239 | 4.323 | -2.931 | 34.1 | 9.936 | 17.68 | -24.08 | 4.839 | -15.36 | 1.974 | -10.47
Point 7 | 0.536 | 0.2352 | 0.3219 | -0.02158 | 0.2653 | 1.193 | 1.046 | 0.323 | 0.8495 | 2.265 | 2.161 | 2.755 | 3.272 | 1.643 | 2.505 | 0.4488 | 0.9597 | 0.818 | 0.8668 | 0.3978 | 0.7232 | 0.4098 | 0.5399 | 0.3451 | 0.576 | 1.239 | 0.6462 | 0.6964 | 1.005 | 2.215 | 1.87 | 3.75 | 6.992 | 1.873 | 6.709 | 1.301 | 1.784 | 1.631 | 2.065 | 0.7164 | 1.653 | 2.193 | 1.685 | 1.443 | 4.463 | 6.495 | 10.38 | 5.926 | 3.67 | 4.058 | 4.838 | 3.241 | 3.597 | 6.857 | 6.257 | 3.312 | 8.983 | 4.426 | 7.149 | 0.9876 | 6.941 | 1.719 | 13.34 | 4.919 | 6.343 | 2.252 | 1.528 | -3.277 | 0.9219 | 4.94 | 1.37 | -1.737 | 1.625 | 5.427 | 1.248 | 0.2806 | 7.049 | -2.085 | 5.685 | -0.7832 | 3.649 | 1.971 | 5.222 | 0.8362 | 6.879 | 0.03633 | 7.048 | 7.964 | 5.041 | -2.517 | 33.99 | 11.4 | 4.693 | 0.2707 | 2.882 | -1.915 | 2.034 | -10.47
Point 8 | 0.4693 | 0.3491 | 0.1069 | 0.7529 | 0.2467 | 1.19 | 0.7135 | 1.412 | 0.6493 | 2.325 | 1.299 | 3.258 | 2.893 | 2.241 | 2.254 | 0.6399 | 0.7534 | 0.9922 | 0.678 | 0.6706 | 0.5237 | 0.6483 | 0.4407 | 0.9949 | 0.456 | 1.546 | 0.6559 | 2.315 | 0.9679 | 2.31 | 0.7692 | 4.124 | 6.749 | 3.365 | 6.147 | 2.107 | 1.057 | 2.168 | 1.62 | 1.469 | 1.082 | 2.524 | 2.236 | 4.118 | 3.931 | 6.263 | 8.908 | 6.884 | 3.109 | 4.145 | 3.256 | 4.438 | 2.965 | 6.331 | 5.05 | 4.949 | 5.722 | 8.198 | 6.599 | 1.919 | 5.565 | 4.307 | 10.74 | 6.752 | 6.034 | 3.35 | 2.383 | -1.819 | 0.412 | 5.012 | 1.618 | -0.9261 | 1.61 | 5.539 | 1.227 | 5.617 | 7.341 | -0.4499 | 0.7945 | 7.933 | 4.102 | 3.123 | 5.172 | 3.484 | 6.605 | 4.841 | 3.495 | 19.35 | 13.55 | 14.1 | 32.55 | 14.91 | 2.703 | 1.158 | 1.369 | 0.02399 | 2.037 | -10.33
Point 9 | 0.2799 | 0.5144 | 0.09877 | 0.7483 | 0.2074 | 1.158 | 0.5381 | 1.511 | 0.5742 | 2.263 | 1.125 | 3.094 | 2.307 | 2.751 | 0.4477 | 0.9835 | 0.6338 | 1.037 | 0.4401 | 0.8459 | 0.3503 | 0.756 | 0.3544 | 1.027 | 0.3859 | 1.595 | 0.5823 | 2.318 | 0.7288 | 2.39 | 0.6889 | 4.074 | 6.626 | 3.584 | 5.096 | 2.494 | 0.6278 | 2.33 | 1.096 | 1.884 | 0.6611 | 2.559 | 2.079 | 4.11 | 3.188 | 5.724 | 1.257 | 3.448 | 1.353 | 3.755 | 2.744 | 4.494 | 0.7285 | 3.815 | 3.3 | 6.253 | 4.097 | 7.338 | 1.654 | 5.183 | 1.96 | 6.536 | 5.3 | 8.744 | 4.461 | 4.119 | 0.6447 | 4.55 | 0.2877 | 4.85 | 1.11 | 5.421 | 0.4108 | 5.903 | 0.477 | 6.618 | 0.7936 | 6.798 | 0.7725 | 7.938 | 1.002 | 9.554 | 1.473 | 11.55 | 6.487 | 5.627 | 3.314 | 18.7 | 7.581 | 28.81 | 28.13 | 16.69 | 0.9313 | 0.1584 | 1.224 | 0.1508 | 0.9497 | -0.1979
Point 10 | 0.1504 | 0.5637 | 0.07599 | 0.6128 | 0.04802 | 0.4127 | 0.3073 | 1.573 | 0.4814 | 2.087 | 0.983 | 2.807 | 0.1036 | 0.6653 | 0.117 | 0.7908 | 0.2631 | 1.005 | 0.1888 | 0.9325 | 0.1911 | 0.8117 | 0.08209 | 1.01 | 0.1082 | 1.257 | 0.1126 | 1.264 | 0.1343 | 1.394 | 0.08477 | 1.381 | 0.1701 | 1.671 | 0.5257 | 1.976 | 0.1223 | 1.936 | 0.1615 | 2.186 | 0.2696 | 2.403 | 0.3428 | 2.686 | 0.5705 | 2.966 | 0.3833 | 2.76 | 0.3755 | 2.992 | 0.5302 | 3.68 | 0.1155 | 2.715 | 2.433 | 6.338 | 0.6931 | 4.253 | 0.9558 | 5.319 | 1.444 | 6.679 | 3.554 | 8.517 | 0.6471 | 4.778 | 0.2543 | 4.583 | 0.2792 | 4.754 | 0.3187 | 5.558 | 0.381 | 5.852 | 0.463 | 6.549 | 0.6923 | 6.818 | 0.7553 | 7.83 | 0.9665 | 9.374 | 1.35 | 11.35 | 2.113 | 14.46 | 0.9098 | 0.6074 | 6.893 | 27.56 | 1.971 | 1.588 | 0.5835 | -0.1699 | 1.066 | 0.1691 | 0.222 | 0.1113
Harmonic impedance results for Summerville SF, cut into Koolkhan - Lismore line 967, 58.8 km from the Koolkhan end.
For each harmonic:
• The harmonic impedance magnitude that is exceeded for 5% of the computed impedances has been found;
• The (complex) impedances, with magnitudes less than this 5% value have been plotted on an R-X diagram;
• A polygon with 10 points has been drawn that encloses most of these impedance values; and
• The R-X points that define the polygon has been identified.
For each harmonic, the attached spreadsheet contains:
• Row 1, the harmonic order
• Row 3 to 12, the R and X value (in pu on 100 MVA) of each point that defines the polygon boundary
34.1