## Copied from PDF
VARs
Description L+0 WSpt – Use this VAR to set active power setpoint when ICON(M) is set to 0 | L+1
L+1 | VarSpt – Use this VAR to set reactive power setpoint when ICON(M) is set to 0 L+2 FrqSpt - Use this VAR to set frequency setpoint
VarSpt – Use this VAR to set reactive power setpoint when ICON(M) is set to 0 L+2 FrqSpt - Use this VAR to set frequency setpoint | L+3
L+3 | VolSpt - Use this VAR to set voltage setpoint
VolSpt - Use this VAR to set voltage setpoint | Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG
Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG | L+4 TmpStk – Use this VAR to set the temperature of stack – Default is 119 degrees
L+4 TmpStk – Use this VAR to set the temperature of stack – Default is 119 degrees | L+5
L+5 | Xpu – X part of impedance for current injection – should be equal to X for gen. in LF L+6 Rpu - R part of impedance for current injection – should be equal to R for gen. in LF
Xpu – X part of impedance for current injection – should be equal to X for gen. in LF L+6 Rpu - R part of impedance for current injection – should be equal to R for gen. in LF | L+7
L+7 | Unused L+8 Unused
Unused L+8 Unused | L+9
L+9 | SetpointChangeFlag – Flag to detect setpoint change when ICON(M) is set to 0 L+10 Meas1.Vinv_d – d-axis inverter terminal voltage
SetpointChangeFlag – Flag to detect setpoint change when ICON(M) is set to 0 L+10 Meas1.Vinv_d – d-axis inverter terminal voltage | L+11
L+11 | Meas1.Vinv_q – q-axis inverter terminal voltage L+12 Meas1.Iinv_d – d-axis inverter current
Meas1.Vinv_q – q-axis inverter terminal voltage L+12 Meas1.Iinv_d – d-axis inverter current | L+13
L+13 | Meas1.Iinv_q – q – axis inverter current L+14 Vth_r – real part of thevenin voltage applied in the current injection routine
Meas1.Iinv_q – q – axis inverter current L+14 Vth_r – real part of thevenin voltage applied in the current injection routine | L+15
L+15 | Vth_i – imaginary part of thevenin voltage applied in the current injection routine L+16 FRTDetect – Flag to Check whether FRT is enabled or not
Vth_i – imaginary part of thevenin voltage applied in the current injection routine L+16 FRTDetect – Flag to Check whether FRT is enabled or not | L+17
L+17 | VI_X – reactive part of Virtual impedance when in FRT L+18 VI_R – real part of Virtual impedance when in FRT
VI_X – reactive part of Virtual impedance when in FRT L+18 VI_R – real part of Virtual impedance when in FRT | L+19
L+19 | Unused L+20 AmpDQRtg
Unused L+20 AmpDQRtg | L+21
L+21 | StkAmpLimOn L+22 PreFaultCurrD
StkAmpLimOn L+22 PreFaultCurrD | L+23
L+23 | PreFaultCurrQ L+24 SpikeFlagOn
PreFaultCurrQ L+24 SpikeFlagOn | L+25
L+25 | SpikeFlagOff L+26 SpikeTimer
SpikeFlagOff L+26 SpikeTimer | L+27
L+27 | Unused L+28 Unused
Unused L+28 Unused | L+29
L+29 | Unused L+30 VCtlHi1Lim_Out – Flag to check whether High Voltage Protection 1 is activated
Unused L+30 VCtlHi1Lim_Out – Flag to check whether High Voltage Protection 1 is activated | L+31
L+31 | VCtlHi1Lim_timer L+32 VCtlHi2Lim_Out - Flag to check whether High Voltage Protection 2 is activated
VCtlHi1Lim_timer L+32 VCtlHi2Lim_Out - Flag to check whether High Voltage Protection 2 is activated | L+33
L+33 | VCtlHi2Lim_timer L+34 VCtlHi3Lim_Out - Flag to check whether High Voltage Protection 3 is activated
VCtlHi2Lim_timer L+34 VCtlHi3Lim_Out - Flag to check whether High Voltage Protection 3 is activated | L+35
L+35 | VCtlHi3Lim_timer L+36 VCtlHi4Lim_Out - Flag to check whether High Voltage Protection 4 is activated
VCtlHi3Lim_timer L+36 VCtlHi4Lim_Out - Flag to check whether High Voltage Protection 4 is activated | L+37
L+37 | VCtlHi4Lim_timer L+38 VCtlHi5Lim_Out - Flag to check whether High Voltage Protection 5 is activated
VCtlHi4Lim_timer L+38 VCtlHi5Lim_Out - Flag to check whether High Voltage Protection 5 is activated | L+39
L+39 | VCtlHi5Lim_timer L+40 VCtlHi6Lim_Out - Flag to check whether High Voltage Protection 6 is activated
VCtlHi5Lim_timer L+40 VCtlHi6Lim_Out - Flag to check whether High Voltage Protection 6 is activated | L+41
L+41 | VCtlHi6Lim_timer L+42 VCtlLo1Lim_Out - Flag to check whether Low Voltage Protection 1 is activated
VCtlHi6Lim_timer L+42 VCtlLo1Lim_Out - Flag to check whether Low Voltage Protection 1 is activated | L+43
L+43 | VCtlLo1Lim_timer L+44 VCtlLo2Lim_Out - Flag to check whether Low Voltage Protection 2 is activated
VCtlLo1Lim_timer L+44 VCtlLo2Lim_Out - Flag to check whether Low Voltage Protection 2 is activated | L+45
L+45 | VCtlLo2Lim_timer L+46 VCtlLo3Lim_Out - Flag to check whether Low Voltage Protection 3 is activated
VCtlLo2Lim_timer L+46 VCtlLo3Lim_Out - Flag to check whether Low Voltage Protection 3 is activated | Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG
Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG | L+47
L+47 | VCtlLo3Lim_timer L+48 VCtlLo4Lim_Out - Flag to check whether Low Voltage Protection 4 is activated
VCtlLo3Lim_timer L+48 VCtlLo4Lim_Out - Flag to check whether Low Voltage Protection 4 is activated | L+49
L+49 | VCtlLo4Lim_timer L+50 VCtlLo5Lim_Out - Flag to check whether Low Voltage Protection 5 is activated
VCtlLo4Lim_timer L+50 VCtlLo5Lim_Out - Flag to check whether Low Voltage Protection 5 is activated | L+51
L+51 | VCtlLo5Lim_timer L+52 VCtlLo6Lim_Out - Flag to check whether Low Voltage Protection 6 is activated
VCtlLo5Lim_timer L+52 VCtlLo6Lim_Out - Flag to check whether Low Voltage Protection 6 is activated | L+53
L+53 | VCtlLo6Lim_timer L+54 HzCtlHi1Lim_Out - Flag to check whether High Frequency Protection 1 is activated
VCtlLo6Lim_timer L+54 HzCtlHi1Lim_Out - Flag to check whether High Frequency Protection 1 is activated | L+55
L+55 | HzCtlHi1Lim_timer L+56 HzCtlHi2Lim_Out - Flag to check whether High Frequency Protection 2 is activated
HzCtlHi1Lim_timer L+56 HzCtlHi2Lim_Out - Flag to check whether High Frequency Protection 2 is activated | L+57
L+57 | HzCtlHi2Lim_timer L+58 HzCtlHi3Lim_Out - Flag to check whether High Frequency Protection 3 is activated
HzCtlHi2Lim_timer L+58 HzCtlHi3Lim_Out - Flag to check whether High Frequency Protection 3 is activated | L+59
L+59 | HzCtlHi3Lim_timer L+60 HzCtlHi4Lim_Out - Flag to check whether High Frequency Protection 4 is activated
HzCtlHi3Lim_timer L+60 HzCtlHi4Lim_Out - Flag to check whether High Frequency Protection 4 is activated | L+61
L+61 | HzCtlHi4Lim_timer L+62 HzCtlHi5Lim_Out - Flag to check whether High Frequency Protection 5 is activated
HzCtlHi4Lim_timer L+62 HzCtlHi5Lim_Out - Flag to check whether High Frequency Protection 5 is activated | L+63
L+63 | HzCtlHi5Lim_timer L+64 HzCtlHi6Lim_Out - Flag to check whether High Frequency Protection 6 is activated
HzCtlHi5Lim_timer L+64 HzCtlHi6Lim_Out - Flag to check whether High Frequency Protection 6 is activated | L+65
L+65 | HzCtlHi6Lim_timer L+66 HzCtlLo1Lim_Out - Flag to check whether Low Frequency Protection 1 is activated
HzCtlHi6Lim_timer L+66 HzCtlLo1Lim_Out - Flag to check whether Low Frequency Protection 1 is activated | L+67
L+67 | HzCtlLo1Lim_timer L+68 HzCtlLo2Lim_Out - Flag to check whether Low Frequency Protection 2 is activated
HzCtlLo1Lim_timer L+68 HzCtlLo2Lim_Out - Flag to check whether Low Frequency Protection 2 is activated | L+69
L+69 | HzCtlLo2Lim_timer L+70 HzCtlLo3Lim_Out - Flag to check whether Low Frequency Protection 3 is activated
HzCtlLo2Lim_timer L+70 HzCtlLo3Lim_Out - Flag to check whether Low Frequency Protection 3 is activated | L+71
L+71 | HzCtlLo3Lim_time L+72 HzCtlLo4Lim_Out - Flag to check whether Low Frequency Protection 4 is activated
HzCtlLo3Lim_time L+72 HzCtlLo4Lim_Out - Flag to check whether Low Frequency Protection 4 is activated | L+73
L+73 | HzCtlLo4Lim_timer L+74 HzCtlLo5Lim_Out - Flag to check whether Low Frequency Protection 5 is activated
HzCtlLo4Lim_timer L+74 HzCtlLo5Lim_Out - Flag to check whether Low Frequency Protection 5 is activated | L+75
L+75 | HzCtlLo5Lim_timer L+76 HzCtlLo6Lim_Out - Flag to check whether Low Frequency Protection 6 is activated
HzCtlLo5Lim_timer L+76 HzCtlLo6Lim_Out - Flag to check whether Low Frequency Protection 6 is activated | L+77
L+77 | HzCtlLo6Lim_timer L+78 Control_Angle
HzCtlLo6Lim_timer L+78 Control_Angle | L+79
L+79 | Inverter_Voltage_Angle L+80 CosPhi
Inverter_Voltage_Angle L+80 CosPhi | L+81
L+81 | SinPhi L+82 Meas1.Vinv_d
SinPhi L+82 Meas1.Vinv_d | L+83
L+83 | Meas1.Vinv_q L+84 Meas1.Vth_d
Meas1.Vinv_q L+84 Meas1.Vth_d | L+85
L+85 | Meas1.Vth_q L+86 Meas1.Iinv_d
Meas1.Vth_q L+86 Meas1.Iinv_d | L+87
L+87 | Meas1.Iinv_q L+88 AmaxSpt
Meas1.Iinv_q L+88 AmaxSpt | L+89
L+89 | Vmag_Filt
Vmag_Filt | Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG
Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG | L+90 Vmag.Filt
L+90 Vmag.Filt | L+91
L+91 | Result_enaGoToSec2 L+92 ErrorCounter1
Result_enaGoToSec2 L+92 ErrorCounter1 | L+93
L+93 | Result_enaGoToSec3 L+94 ErrorCounter2
Result_enaGoToSec3 L+94 ErrorCounter2 | L+95
L+95 | Result_enaGoToSec4 L+96 ErrorCounter3
Result_enaGoToSec4 L+96 ErrorCounter3 | L+97
L+97 | Result_enaGoToSec3FromSec0 L+98 ErrorCounter4
Result_enaGoToSec3FromSec0 L+98 ErrorCounter4 | L+99
L+99 | TempStk_Filt L+100 CounterSec0
TempStk_Filt L+100 CounterSec0 | L+101
L+101 | OvAmpStt L+102 SubStt
OvAmpStt L+102 SubStt | L+103
L+103 | noOvercurrentStt L+104 HWTresholdHi
noOvercurrentStt L+104 HWTresholdHi | L+105
L+105 | EnaThmDerating L+106 AmaxNom
EnaThmDerating L+106 AmaxNom | L+107
L+107 | AmaxNomD L+108 AmaxNomQ
AmaxNomD L+108 AmaxNomQ | L+109
L+109 | AmaxNomInit L+110 HysMode
AmaxNomInit L+110 HysMode | L+111
L+111 | HysMode_timer L+112 TmpAcCtlOvAmpActive
HysMode_timer L+112 TmpAcCtlOvAmpActive | L+113
L+113 | Unused L+114 disaOverCurrent_delay
Unused L+114 disaOverCurrent_delay | L+115
L+115 | AmaxNom_filt L+116 AmaxNomD_filt
AmaxNom_filt L+116 AmaxNomD_filt | L+117
L+117 | AmaxNomQ_filt L+118 AMaxSpt
AmaxNomQ_filt L+118 AMaxSpt | L+119
L+119 | StkAmpLimOn L+120 Vinv_d_filt
StkAmpLimOn L+120 Vinv_d_filt | L+121
L+121 | Vinv_q_filt L+122 SW_FRT
Vinv_q_filt L+122 SW_FRT | L+123
L+123 | SW_FRT_timer L+124 VirtImpEna
SW_FRT_timer L+124 VirtImpEna | L+125
L+125 | FRT_States_timer L+126 VirtImpEna_delay
FRT_States_timer L+126 VirtImpEna_delay | L+127
L+127 | Local_ResetTm_timer L+128 AmaxSpt_Filt
Local_ResetTm_timer L+128 AmaxSpt_Filt | L+129
L+129 | AmpMax_Filt L+130 Meas.Iinv_q_Filt
AmpMax_Filt L+130 Meas.Iinv_q_Filt | L+131
L+131 | VI_X_PiCtrlWithLimit_Out L+132 VI_X_PiCtrl_Integrator
VI_X_PiCtrlWithLimit_Out L+132 VI_X_PiCtrl_Integrator | Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG
Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG | L+133
L+133 | VI_R_Filt L+134 VI_R_PiCtrlWithLimit_Out
VI_R_Filt L+134 VI_R_PiCtrlWithLimit_Out | L+135
L+135 | VI_R_PiCtrl_Integrator L+136 VI_X
VI_R_PiCtrl_Integrator L+136 VI_X | L+137
L+137 | VI_R L+138 Iinv_d_fil
VI_R L+138 Iinv_d_fil | L+139
L+139 | Iinv_q_fil L+140 Vmag_fil1
Iinv_q_fil L+140 Vmag_fil1 | L+141
L+141 | Vmag_fil2 L+142 CtlOut_P_D
Vmag_fil2 L+142 CtlOut_P_D | L+143
L+143 | CtlOut_I_D L+144 Ki_max_hold
CtlOut_I_D L+144 Ki_max_hold | L+145
L+145 | Ki_min_hold L+146 PiCtrlWithLimit_Output
Ki_min_hold L+146 PiCtrlWithLimit_Output | L+147
L+147 | PiCtrl_Integrator L+148 PiCtrl_Integrator2
PiCtrl_Integrator L+148 PiCtrl_Integrator2 | L+149
L+149 | PiCtrl_Integrator3 L+150 PiCtrlWithLimit_Output
PiCtrl_Integrator3 L+150 PiCtrlWithLimit_Output | L+151
L+151 | PiCtrl_Integrator L+152 PiCtrl_Integrator2
PiCtrl_Integrator L+152 PiCtrl_Integrator2 | L+153
L+153 | PiCtrl_Integrator3 L+154 CtlOut_D
PiCtrl_Integrator3 L+154 CtlOut_D | L+155
L+155 | CtlOut_P_Q L+156 CtlOut_I_Q
CtlOut_P_Q L+156 CtlOut_I_Q | L+157
L+157 | Ki_max_hold L+158 Ki_min_hold
Ki_max_hold L+158 Ki_min_hold | L+159
L+159 | PiCtrlWithLimit_Output L+160 PiCtrl_Integrator
PiCtrlWithLimit_Output L+160 PiCtrl_Integrator | L+161
L+161 | PiCtrl_Integrator2 L+162 PiCtrl_Integrator3
PiCtrl_Integrator2 L+162 PiCtrl_Integrator3 | L+163
L+163 | PiCtrlWithLimit_Output L+164 PiCtrl_Integrator
PiCtrlWithLimit_Output L+164 PiCtrl_Integrator | L+165
L+165 | PiCtrl_Integrator2 L+166 PiCtrl_Integrator3
PiCtrl_Integrator2 L+166 PiCtrl_Integrator3 | L+167
L+167 | CtlOut_Q L+168 VirtImpEna_delay
CtlOut_Q L+168 VirtImpEna_delay | L+169
L+169 | Ud_filt L+170 Uq_filt
Ud_filt L+170 Uq_filt | L+171
L+171 | AmpPsDSpt L+172 AmpPsQSpt
AmpPsDSpt L+172 AmpPsQSpt | L+173
L+173 | HzCtlOut L+174 dTheta
HzCtlOut L+174 dTheta | L+175
L+175 | dVol
dVol | Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG
Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG | L+176 Iinv_d_filt
L+176 Iinv_d_filt | L+177
L+177 | Iinv_q_filt L+178 Vmag.filt
Iinv_q_filt L+178 Vmag.filt | L+179
L+179 | DrpAmpDFilTm_filt L+180 HPF_Filt_out_dHz
DrpAmpDFilTm_filt L+180 HPF_Filt_out_dHz | L+181
L+181 | dHz_HPF_delay L+182 DrpAmpDFilTm2_filt
dHz_HPF_delay L+182 DrpAmpDFilTm2_filt | L+183
L+183 | HPF_Filt_out_dHz2 L+184 dHz2_HPF_delay
HPF_Filt_out_dHz2 L+184 dHz2_HPF_delay | L+185
L+185 | DrpAmpD_filt L+186 InteriaPhsCtl_Kp_filt
DrpAmpD_filt L+186 InteriaPhsCtl_Kp_filt | L+187
L+187 | InteriaPhsCtl_Ki_filt L+188 AmpPsD_int
InteriaPhsCtl_Ki_filt L+188 AmpPsD_int | L+189
L+189 | DrpAmpQFilTm_filt L+190 HPF_Filt_out_dVol
DrpAmpQFilTm_filt L+190 HPF_Filt_out_dVol | L+191
L+191 | dVol_HPF_delay L+192 DrpAmpQFilTm2_filt
dVol_HPF_delay L+192 DrpAmpQFilTm2_filt | L+193
L+193 | HPF_Filt_out_dVol2 L+194 dVol2_HPF_delay
HPF_Filt_out_dVol2 L+194 dVol2_HPF_delay | L+195
L+195 | DrpAmpQ_filt L+196 InteriaVolCtl_Kp_filt
DrpAmpQ_filt L+196 InteriaVolCtl_Kp_filt | L+197
L+197 | InteriaVolCtl_Ki_filt L+198 AmpPsQ_int
InteriaVolCtl_Ki_filt L+198 AmpPsQ_int | L+199
L+199 | dAmpD_filt L+200 Hzin_hold
dAmpD_filt L+200 Hzin_hold | L+201
L+201 | Thetain_hold L+202 Volin_hold
Thetain_hold L+202 Volin_hold | L+203
L+203 | Vinv_q_filt L+204 VirtImpEna_delay
Vinv_q_filt L+204 VirtImpEna_delay | L+205
L+205 | PreFreeze L+206 PreFreeze_timer
PreFreeze L+206 PreFreeze_timer | L+207
L+207 | Vinv_d L+208 Vinv_q
Vinv_d L+208 Vinv_q | L+209
L+209 | Vinv_d_FRT L+210 Vinv_q_FRT
Vinv_d_FRT L+210 Vinv_q_FRT | L+211
L+211 | Vinv_d_filt L+212 Vinv_q_filt
Vinv_d_filt L+212 Vinv_q_filt | L+213
L+213 | Vinv_d_int L+214 Vinv_q_int
Vinv_d_int L+214 Vinv_q_int | L+215
L+215 | Iinv_d_filt L+216 Iinv_q_filt
Iinv_d_filt L+216 Iinv_q_filt | L+217
L+217 | Vth_r L+218 Vth_i
Vth_r L+218 Vth_i | Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG
Description of the model of the SMA SC inverters for power flow and stability studies in PSS®E SMA Solar Technology AG | L+219
L+219 | Unused
Unused

## Extracting
L+1 | VarSpt – Use this VAR to set reactive power setpoint when ICON(M) is set to 0 L+2 FrqSpt - Use this VAR to set frequency setpoint
L+2
L+3
L+4
L+5
L+6
L+7
L+8
L+9
L+10
L+11
L+12
L+13
L+14
L+15
L+16
L+17
L+18
L+19
L+20
L+21
L+22
L+23
L+24
L+25
L+26
L+27
L+28
L+29
L+30
L+31
L+32
L+33
L+34
L+35
L+36
L+37
L+38
L+39
L+40
L+41
L+42
L+43
L+44
L+45
L+46
L+47
L+48
L+49
L+50
L+51
L+52
L+53
L+54
L+55
L+56
L+57
L+58
L+59
L+60
L+61
L+62
L+63
L+64
L+65
L+66
L+67
L+68
L+69
L+70
L+71
L+72
L+73
L+74
L+75
L+76
L+77
L+78
L+79
L+80
L+81
L+82
L+83
L+84
L+85
L+86
L+87
L+88
L+89
L+90
L+91
L+92
L+93
L+94
L+95
L+96
L+97
L+98
L+99
L+100
L+101
L+102
L+103
L+104
L+105
L+106
L+107
L+108
L+109
L+110
L+111
L+112
L+113
L+114
L+115
L+116
L+117
L+118
L+119
L+120
L+121
L+122
L+123
L+124
L+125
L+126
L+127
L+128
L+129
L+130
L+131
L+132
L+133
L+134
L+135
L+136
L+137
L+138
L+139
L+140
L+141
L+142
L+143
L+144
L+145
L+146
L+147
L+148
L+149
L+150
L+151
L+152
L+153
L+154
L+155
L+156
L+157
L+158
L+159
L+160
L+161
L+162
L+163
L+164
L+165
L+166
L+167
L+168
L+169
L+170
L+171
L+172
L+173
L+174
L+175
L+176
L+177
L+178
L+179
L+180
L+181
L+182
L+183
L+184
L+185
L+186
L+187
L+188
L+189
L+190
L+191
L+192
L+193
L+194
L+195
L+196
L+197
L+198
L+199
L+200
L+201
L+202
L+203
L+204
L+205
L+206
L+207
L+208
L+209
L+210
L+211
L+212
L+213
L+214
L+215
L+216
L+217
L+218
L+219